## Slide 1: Louis Cendagorta Chief Inspector Suppression & CDA Units
cendagl@fdny.nyc.gov
louis.cendagorta@fdny.nyc.gov

## Slide 2: Topics
Fire Statistics
Top 5 FDNY Violations at Construction Sites
Permits needed at Construction Sites
Fire Hose Valves
Temporary Protection – Standpipe/Sprinkler
3 RCNY 115-01 – Extinguisher tags and Duct cleaning decals

## Slide 3: 2005-2016 CONSTRUCTION SITE FIRES ANNUAL SUMMARY

## Slide 4: 2005-2016 CDA FIRES MOST COMMON CAUSES
Total Fires

## Slide 5: Top 5 FDNY Violations at Construction Sites
#5 – No permit for storage/use of LPG and Compressed Gasses
#4 – No permit for storage/use of flammable or combustible liquids, gasoline, diesel, hydraulic oil, lube oil
#3 – Excessive amounts/obstructions of combustible material
#2 – No Smoking Signs
#1 – Portable Fire Extinguishers missing/not charged

## Slide 6: Permits at Construction Sites

## Slide 8: Fire Hose Valves
FC 901.4.5 – Certificate of approval from the FDNY on Fire Department connections, standpipe system hose outlets and pressure reducing valves.
FDNY S.O.P.- Any pressure reducing, regulating, restricting device shall be remove from the hose outlets to proceed with firefighting operations (general statement).

## Slide 9: Approved for use in New York City

## Slide 10: Not Approved in NYC

## Slide 11: Temporary Protection
Air Pressurized dry Standpipe system
NYC Building Code 3303.8.1
Temporary loop Sprinkler system
NYC Buildings Bulletin 2017-009
Replaces BB 2012-009
Letter of Notification not required anymore
Must still notify FDNY Dispatchers (FC 901.7)

## Slide 13
Fire Extinguisher Tags

## Slide 14: New Extinguisher Tags
Consistent tag design.
Virtually impossible to reproduce.
Extremely difficult to counterfeit
FDNY controls the issuance of the tags to authorized/insured companies.
More efficient for FDNY Inspectors and the public to verify legitimacy (QR code).
Easily tracked by serial numbers.
Notes: Starting in July 2018 and will take about a year to completely implement.

## Slide 15: New Extinguisher Tags
Front of Tag
Company Name/ Logo
Extinguisher type
Month service completed
Year
Type of service completed
Hologram

## Slide 16
Back of Tag
New Extinguisher Tags
COF holder’s information
Quick check (monthly) inspection record
Date and Initial
Extinguisher identification
Location of Extinguisher
Company Name
QR Code to identify approved companies
Barcode for company to track tags and extinguishers

## Slide 17
COMMERCIALCOOKING DECALS

## Slide 18
Consistent decal design
Extremely difficult to counterfeit or use without FDNY approval.
Virtually impossible to reproduce.
Easily tracked by serial numbers.
FDNY controls the issuance of the decals only to authorized/insured companies
New Commercial Cooking
Cleaning Decals

## Slide 19
Commercial Cooking Decals
FDNY Logo
Company Name/ Logo
Service Date
Indicates Precipitator or Pollution control
Service Month
Company
COF Holder
Service year
*Other security measures are included
QR Code/Barcode
Clear gloss
embossed logo
to cover entire decal

## Slide 20: Fire Dispatch Operations
Bronx
(718) 430-0200
1
Brooklyn
(718) 965-8300
2
Manhattan
(212) 570-4300
3
Staten Island
(718) 494-4296
5
Queens
(718) 476-6200
4

## Slide 21: Questions?